## Worksheet 1
Measurement system | Instrument type | Measured variable | Measurement height (m) | Measurement time period | Measurement temporal resolution
Wind turbines | Enercon E-115 | Power generation | 92 m (hub height) | 23 May– 30 November 2024 | 100 Hz
Inflow meteorological mast | Ultrasonic anemometer (i.e., sonic) | Wind speed | 85 m | 19 October 2022– 30 November 2024 | 20 Hz
|  | 34, 62, 120, 149 m | 1 April 2023– 30 June 2024 | 10 Hz
| Wind direction | 85 m | 19 October 2022– 30 November 2024 | 20 Hz
|  |  | 34, 62, 120, 149 m | 1 April 2023– 30 June 2024 | 10 Hz
| Hygro-thermometer | Temperature | 85 m | 19 October 2022– 30 November 2024 | 20 Hz
|  |  | 34, 62, 120, 143 m | 1 April 2023– 30 June 2024 | 10 Hz
|  | Relative humidity | 85 m | 19 October 2022– 30 November 2024 | 20 Hz
|  |  | 34, 62, 120, 143 m | 1 April 2023– 30 June 2024 | 10 Hz
| Barometer | Pressure | 85 m | 19 October 2022– 30 November 2024 | 20 Hz
|  |  | 10 m | 1 April 2023– 30 June 2024 | 10 Hz
| Rain gauge | Rainfall | 8 m | 19 October 2022– 30 November 2024 | 1 min
Doppler wind lidar (i.e., lidar) | WindCube 200S (Leosphere) | Wind speed | 100–1000 m (25 m increments) | 4 November 2020– 30 November 2024 | 72 s
|  | Wind direction | 100–1000 m (25 m increments)
Microwave radiometer (i.e., MWR; adjacent to lidar) | HATPRO G5 (radiometer physics) | Temperature | 0, 10, 25, 50, 75, 100 m | 26 November 2020– 30 November 2024 | 1 min
Relative | 0, 10, 25, 50, 75, |  | 1 min
humidity | 100 m
Ground weather station (attached to MWR) | Ultrasonic anemometer (i.e., sonic) | Wind speed | 2 m | 26 November 2020– 30 November 2024 | 10 s
Wind direction | 2 m | 10 s
| Thermometer | Temperature | 2 m |  | 10 s
| Hygrometer | Relative humidity | 2 m |  | 10 s
| Barometer | Pressure | 2 m |  | 10 s
| Rain gauge | Rainfall | 2 m |  | 10 s