## Worksheet
KPI | Definition | Importance | Common calculation methods
Failure rate | Average number of failures per unit (e.g. per turbine) per year for a specific component or subsystem | Indicates the reliability of wind turbine components and subsystems; high failure rates can lead to increased maintenance costs and downtime | Empirical analysis using maintenance data
Corrective maintenance rate | Frequency of corrective maintenance interventions | Indicates the reliability of wind turbine components and subsystems | Empirical analysis of maintenance records
Unscheduled maintenance rate | Frequency of maintenance activities related to unexpected failures | High rates suggest frequent unexpected failures, and may affect downtime and operational planning | Empirical data analysis from maintenance reports
Preventive maintenance rate | Frequency of preventive maintenance interventions | Helps in understanding the maintenance strategy; high rates suggest that preventive maintenance interventions and associated costs are accepted to prevent failures | Empirical data analysis from maintenance reports
Mean time to failure (MTTF) | Average time to failure for a non-repairable specific component or subsystem | Helps in understanding the expected lifespan of components; a higher MTTF indicates better reliability | Empirical data analysis from maintenance reports
Mean time to repair (MTTR) | Average time required to repair a failed component or subsystem, and restore it to operational condition | Critical for planning maintenance resources and minimising downtime; a lower MTTR indicates more efficient maintenance processes | Empirical analysis based on maintenance records
Mean time between failures (MTBF) | Average time between successive failures of a repairable system or component | Indicates the reliability of wind turbine components and subsystems; a higher MTBF indicates better reliability | Calculated as the inverse of the average failure rate
Availability (time based) | The proportion of time a wind turbine is operational and capable of generating power | Reflects overall performance and reliability of wind turbines; high availability is key to maximising energy production and minimising losses | Time-based calculations using operational and downtime data, i.e. typically Supervisory Control and Data Acquisition (SCADA) data; Markov models
Downtime | Total time during which a wind turbine is not operational due to failures or maintenance | Directly impacts energy yield and economic returns; high downtime leads to significant losses in revenue | Derivation from SCADA data