## Worksheet
Feature | Inclusion rate | Coefficient LR
DT (%)
FL: LSC current setpoint entropy (W3) | 62 | −0.68 ± 0.11
FF: High temperature LV filter | – | −0.54 ± 0.16
FL: LSC actuating space vector length range (W0) | 18 | −0.52 ± 0.07
OD: Correlation cluster 5 | – | −0.36 ± 0.19
OS: Parallel at trigger | – | −0.32 ± 0.11
FF: Fuse trip DC link | – | −0.30 ± 0.10
FF: Crowbar cooling time | – | −0.26 ± 0.19
FL: LSC actuating space vector length IQR (W0) | 4 | −0.25 ± 0.06
FF: Chopper | – | −0.23 ± 0.12
FL: LSC voltage space vector velocity IQR (W0) | 2 | −0.22 ± 0.15
FF: External PLC | – | −0.19 ± 0.16
OS: Parallel time before shutdown | – | −0.12 ± 0.13
FL: DC-link voltage slope (W1) | 3 | −0.12 ± 0.13
FL: LSC actuating space vector velocity slope (W1) | 4 | −0.11 ± 0.16
FL: LSC voltage space vector length slope (W1) | 4 | −0.06 ± 0.16
OD: Correlation cluster 2 | – | −0.05 ± 0.20
FL: LSC current space vector velocity slope (W1) | 5 | 0.02 ± 0.14
FL: Mains voltage space vector velocity mean (W3) | 3 | 0.04 ± 0.12
FF: LSC IGBT overload | – | 0.05 ± 0.13
FF: MSC IGBT overload | – | 0.05 ± 0.13
FF: MSC asymmetric current | – | 0.06 ± 0.14
OD: Correlation cluster 0 | – | 0.08 ± 0.15
OD: Correlation cluster 4 | – | 0.12 ± 0.20
OS: Time not parallel beforehand | – | 0.14 ± 0.12
FL: MSC current space vector length slope (W1) | 2 | 0.21 ± 0.13
OD: Correlation cluster 3 | – | 0.22 ± 0.12
FL: Mains current space vector velocity slope (W1) | 3 | 0.22 ± 0.12
FF: Fuse trip supply voltage | – | 0.23 ± 0.13
FF: Ringline shutdown | – | 0.23 ± 0.15
FL: LSC actuating space vector velocity SD (W4) | 9 | 0.23 ± 0.12
FL: LSC current space vector length slope (W1) | 7 | 0.26 ± 0.12
FL: LSC voltage space vector velocity SD (W4) | 10 | 0.31 ± 0.13
FF: Control system | – | 0.46 ± 0.14
FL: LSC actuating space vector length slope (W0) | 16 | 0.75 ± 0.11