## Worksheet
Component | Chosen value | Remark
Calibration, uB1 | 0.2 dB | IEC 61400-11-1 proposed value
Instrument, uB2 | 0.2–0.8 dB | Frequency dependent, based on a calibration certificate
Board, uB3 | 0.3 dB | IEC 61400-11-1 proposed value
Wind screen, uB4 | 0.2–0.9 dB | Frequency dependent, based on a calibration sheet
Distance and direction, uB5 | 0.1 dB | IEC 61400-11-1 proposed value
Air absorption, uB6 | 0 dB | IEC 61400-11-1 recommendation
Weather conditions, uB7 | 0.5 dB | IEC 61400-11-1 proposed value
Wind speed, measured, uB8 | 0.7 m s−1 | IEC 61400-11-1 proposed value
Wind speed, derived, uB8 | 0.2 m s−1 | IEC 61400-11-1 proposed value
Wind speed, power curve, uB9 | 0.2 m s−1 | IEC 61400-11-1 proposed value