## Worksheet
Dimension | Uncertainty source | Type | Risk implication | Time horizon
Design and engineering | Load scaling beyond validated ranges; novel blade and drivetrain concepts | E | Increased failure rates and retrofit CAPEX from design deficiencies | Construction & commissioning, operation
Manufacturing and supply | Quality control at extreme component scale; concentrated supplier base | E, R | CAPEX and schedule overruns; delivery delays and defects | Development & financing, construction & commissioning
Reliability and performance | Limited field data for new turbine models; non-stationary failure behaviour | A, E | Increased downtime and OPEX; reduced availability from serial failures | Operation
O&M logistics | Limited availability of vessels and lifting assets; weather sensitivity | E, R | Increased downtime and OPEX; revenue loss | Operation
Financial and insurance | Lack of actuarial data; increased loss severity per failure | E, R | Higher insurance premiums and deductibles; reduced bankability | Development & financing through operation
Regulatory and standards | Evolving certification and grid compliance requirements | R, E | Increased CAPEX from redesign and testing; permitting delays and curtailment risk | Construction & commissioning through end-of-life