## Worksheet 1
Year | Est/ | Category | Subcategory | Avg | Min | Max | Notes | Source
| obs |  |  | (%) | (%) | (%)
2010 | e | Availability | Balance of |  | 1 | 2 |  | Clive (2010)
plant
2013 | e | Availability | Balance of |  |  | 1 | Typical northwest | Mortensen (2013)
|  |  | plant |  |  |  | European onshore
2014 | e | Availability | Balance of | 0.2 | 0.2 | 0.4 | Typical North | AWS Truepower
|  |  | plant |  |  |  | American onshore, | (2014)
collection, and
substation
2016 | e | Availability | Balance of | 0.5 |  |  | Substation | Clifton et al. (2016)
plant
2017 | e | Availability | Balance of |  | 0.3 | 0.5 | Onshore: 0.5; | Papadopoulos (2019)
|  |  | plant |  |  |  | Offshore: 0.3
2011 | o | Availability | Balance of | 0.2 |  |  |  | Johnson (2011)
plant
2010 | e | Availability | Grid | 2 | 1 | 3 | WindPro 2.7 | Nielsen et al. (2010)
2013 | e | Availability | Grid |  |  | 1 | Typical northwest | Mortensen (2013)
European onshore
2014 | e | Availability | Grid | 0.3 | 0.3 | 0.6 | Typical North | AWS Truepower
[7 empty] | American onshore, | (2014)
utility grid
2016 | e | Availability | Grid |  |  | 1 | Transmission | Clifton et al. (2016)
2019 | e | Availability | Grid |  | 1 | 3.3 |  | Hill et al. (2019)
availability
2008 | o | Availability | Grid |  | 0.7 | 2.5 |  | Spengemann and
Borget (2008)
2008 | e | Availability | Total | 3 |  |  | Outside North | Graves et al. (2008)
|  |  | availability |  |  |  | America
2008 | e | Availability | Total |  | 3 | 5 | Include first-year | Johnson et al.
|  |  | availability |  |  |  | operation, also | (2008), White (2008a)
stated in Table B4
2009 | e | Availability | Total | 3 | 2 | 3 |  | Randall (2009)
availability
2009 | e | Availability | Total |  | 3 | 5 | United States: | Horn (2009)
|  |  | availability |  |  |  | southern states: 3;
northern states: 5
2011 | e | Availability | Total | 5 |  |  | Analyst | Hendrickson (2011)
|  |  | availability |  |  |  | comparison
2012 | e | Availability | Total | 3 |  |  |  | Drunsic (2012)
availability
2012 | e | Availability | Total | 6 | 2 | 10 |  | Brower (2012)
availability
2013 | e | Availability | Total | 3.2 |  |  | Onshore, analyst | Mortensen and
|  |  | availability |  |  |  | comparison | Ejsing Jørgensen
(2013)
2014 | e | Availability | Total | 6.2 |  |  | Typical North | AWS Truepower
|  |  | availability |  |  |  | American onshore | (2014)
2016 | e | Availability | Total |  | 2 | 5 | For plants built in | Clifton et al. (2016)
|  |  | availability |  |  |  | 2010 to 2015
2016 | e | Availability | Total | 4.2 |  |  |  | Beaucage et al.
|  |  | availability |  |  |  |  | (2016)
2016 | e | Availability | Total |  | 2 | 4 |  | Bernadett et al.
|  |  | availability |  |  |  |  | (2016)
2018 | e | Availability | Total | 2 |  |  | Onshore | Stehly et al. (2018)
availability
2007 | o | Availability | Total | 7.4 |  |  |  | Johnson (2011)
availability
2008 | o | Availability | Total | 4.5 |  |  | North America | Graves et al. (2008)
availability
2008 | o | Availability | Total | 5 |  |  |  | Johnson et al.
|  |  | availability |  |  |  |  | (2008), White (2008a)
2008 | o | Availability | Total | 7 |  |  |  | Johnson et al.
|  |  | availability |  |  |  |  | (2008), Jones (2008)
2008 | o | Availability | Total | 6.7 |  |  |  | Johnson (2011)
availability
2008 | o | Availability | Total | 6 |  |  |  | Lackner et al. (2008)
availability
2009 | o | Availability | Total availability |  | 5 | 6 |  | Hendrickson (2009)
2009 | o | Availability | Total availability | 6.5 |  |  |  | Randall (2009)
2009 | o | Availability | Total | 8.2 |  |  | Most available in | Cushman (2009)
|  |  | availability |  |  |  | summer and fall,
least in winter
2009 | o | Availability | Total | 6.9 |  |  |  | Johnson (2011)
availability
2010 | o | Availability | Total | 3.5 |  |  |  | Johnson (2011)
availability
2010 | o | Availability | Total | 1.1 | 1 | 11 | WindPro 2.7 | Nielsen et al. (2010)
availability
2011 | o | Availability | Total | 11 |  |  |  | Conroy et al. (2011)
availability
2011 | o | Availability | Total | 2.6 |  |  |  | Johnson (2011)
availability
2012 | o | Availability | Total | 6 |  |  |  | Drunsic (2012)
availability
2012 | o | Availability | Total | 6.4 |  |  | Higher availability | Winslow (2012)
|  |  | availability |  |  |  | loss for higher
wind speeds
2015 | o | Availability | Total | 5 |  |  | Operational issues | Cox (2015)
|  |  | availability |  |  |  | (e.g., cables,
connection,
turbine)
2016 | o | Availability | Total | 4.5 |  |  |  | Beaucage et al.
|  |  | availability |  |  |  |  | (2016)
2016 | o | Availability | Total | 3.2 |  |  |  | Bernadett et al.
|  |  | availability |  |  |  |  | (2016)
2019 | o | Availability | Total | 4 |  |  |  | Pedersen and
|  |  | availability |  |  |  |  | Langreder (2019)
2010 | e | Availability | Turbine |  | 2 | 5 |  | Clive (2010)
2010 | e | Availability | Turbine |  | 2 | 5 | WindPro 2.7 | Nielsen et al. (2010)
2013 | e | Availability | Turbine | 3 |  |  | Typical northwest | Mortensen (2013)
European onshore
2014 | e | Availability | Turbine | 5.9 | 3 | 10.1 | Typical North | AWS Truepower
[7 empty] | American onshore, | (2014)
combined from
contractual turbine,
non-contractual
turbine, correlation,
restart, site access
2011 | o | Availability | Turbine | 2.3 |  |  |  | Johnson (2011)
2019 | o | Availability | Turbine | 1.67 |  |  | Combine scheduled | Pedersen and
[7 empty] | and unscheduled | Langreder (2019)
maintenance
2014 | e | Curtailment | Grid |  | 0 | 3.5 | Typical North | AWS Truepower
[7 empty] | American onshore, | (2014)
including power
purchase
agreement
2016 | e | Curtailment | Grid |  |  | 1 |  | Clifton et al. (2016)
2019 | e | Curtailment | Grid | 3.8 |  |  | Ireland estimate, | Papadopoulos
[7 empty] | based on | (2019)
operational data
2016 | o | Curtailment | Grid |  | 0.5 | 1 | Interconnection cap | Ostridge and
Rodney (2016)
2014 | e | Curtailment | Load |  | 0 | 3.5 | Typical North | AWS Truepower
[7 empty] | American onshore, | (2014)
directional
2019 | o | Curtailment | Load | 1.02 |  |  | Load shutdown | Pedersen and
Langreder (2019)
2014 | e | Curtailment | Permit |  | 0 | 3.5 | Typical North | AWS Truepower
[7 empty] | American onshore | (2014)
2016 | e | Curtailment | Permit |  |  | 1 |  | Clifton et al. (2016)
2018 | e | Curtailment | Permit |  | 0.05 | 0.2 | Shadow flicker | Mibus (2018)
2016 | o | Curtailment | Permit |  | 0.4 | 2.4 | Bat | Ostridge and
Rodney (2016)
2019 | o | Curtailment | Permit |  | 0.67 | 0.71 | Bat and shadow | Pedersen and
[7 empty] | flicker | Langreder (2019)
2011 | e | Curtailment | Total | 0 |  |  | Analyst | Hendrickson (2011)
|  |  | curtailment |  |  |  | comparison
2012 | e | Curtailment | Total | 0 | 0 | 5 |  | Brower (2012)
curtailment
2014 | e | Curtailment | Total | 0 |  |  | Typical North | AWS Truepower
|  |  | curtailment |  |  |  | American onshore | (2014)
2016 | e | Curtailment | Total |  | 1 | 4 |  | Clifton et al. (2016)
curtailment
2011 | o | Curtailment | Total | 4 |  |  |  | Johnson (2011)
curtailment
2012 | o | Curtailment | Total | 2.97 |  |  |  | Wiser et al. (2019)
curtailment
2013 | o | Curtailment | Total | 2.86 |  |  |  | Wiser et al. (2019)
curtailment
2014 | o | Curtailment | Total |  | 1 | 4 | Varies | Bird et al. (2014)
|  |  | curtailment |  |  |  | geographically
2014 | o | Curtailment | Total | 2.31 |  |  |  | Wiser et al. (2019)
curtailment
2015 | o | Curtailment | Total | 2.15 |  |  |  | Wiser et al. (2019)
curtailment
2016 | o | Curtailment | Total | 2.1 |  |  |  | Wiser et al. (2019)
curtailment
2017 | o | Curtailment | Total | 2.54 |  |  |  | Wiser et al. (2019)
curtailment
2018 | o | Curtailment | Total | 2.18 |  |  |  | Wiser et al. (2019)
curtailment
2014 | e | Electrical | Electrical | 2 | 1 | 3 | Typical North | AWS Truepower
|  |  | efficiency |  |  |  | American onshore | (2014)
2016 | e | Electrical | Electrical |  | 1 | 2 | Collector system | Clifton et al. (2016)
efficiency
2014 | e | Electrical | Facility | 0.1 | 0 | 0.1 | Typical North | AWS Truepower
|  |  | parasitic |  |  |  | American onshore, | (2014)
|  |  | consumption |  |  |  | weather package
2010 | e | Electrical | Total |  | 2 | 3 |  | Clive (2010)
electrical
2011 | e | Electrical | Total | 3 |  |  | Analyst | Hendrickson (2011)
|  |  | electrical |  |  |  | comparison
2012 | e | Electrical | Total | 2.1 | 2 | 3 |  | Brower (2012)
electrical
2013 | e | Electrical | Total | 1.2 |  |  | Typical northwest | Mortensen (2013)
|  |  | electrical |  |  |  | European onshore
2013 | e | Electrical | Total |  | 1 | 2 | Typical northwest | Mortensen (2013)
|  |  | electrical |  |  |  | European onshore
2014 | e | Electrical | Total |  | 0.7 | 2 |  | Colmenar-Santos
|  |  | electrical |  |  |  |  | et al. (2014)
2014 | e | Electrical | Total | 2.1 |  |  | Typical North | AWS Truepower
|  |  | electrical |  |  |  | American onshore | (2014)
2016 | e | Electrical | Total |  | 2 | 3.5 |  | Clifton et al. (2016)
electrical
2008 | o | Electrical | Total | 3 |  |  |  | Spengemann and
|  |  | electrical |  |  |  |  | Borget (2008)
2006 | e | Environmental | Degradation |  |  | 13 |  | Spruce and Turner
(2006)
2009 | e | Environmental | Degradation | 0.2 | 0.1 | 0.4 | 10 years | Randall (2009)
2009 | e | Environmental | Degradation | 1.2 | 0.5 | 1.9 | 20 years | Randall (2009)
2010 | e | Environmental | Degradation | 5 |  | 10 |  | Standish et al.
(2010)
2011 | e | Environmental | Degradation | 0.3 |  |  |  | Bernadett et al.
(2012)
2012 | e | Environmental | Degradation | 0.6 |  |  |  | Bernadett et al.
(2012)
2014 | e | Environmental | Degradation |  | 5 | 25 | Wind tunnel study | Sareen et al. (2014)
2014 | e | Environmental | Degradation | 1 | 0.6 | 1.3 | Typical North | AWS Truepower
[7 empty] | American onshore | (2014)
2014 | e | Environmental | Degradation |  | 5 | 20 | Extreme cases | Redouane (2014)
2015 | e | Environmental | Degradation |  |  | 5 |  | Langel et al. (2015)
2016 | e | Environmental | Degradation |  | 1 | 2 | Industry standard; | Clifton et al. (2016)
soiling and erosion
2016 | e | Environmental | Degradation |  |  | 5 |  | Maniaci et al.
(2016)
2017 | e | Environmental | Degradation |  | 0.4 | 2.3 |  | Ehrmann et al.
(2017)
2017 | e | Environmental | Degradation |  |  | 8 |  | Schramm et al.
(2017)
2017 | e | Environmental | Degradation |  | 4.9 | 6.8 |  | Wilcox et al. (2017)
2019 | e | Environmental | Degradation | 3.6 |  |  | Normal operation | Hasager et al.
(2019)
2019 | e | Environmental | Degradation | 2.6 |  |  | Erosion safe mode | Hasager et al.
[7 empty] | operation | (2019)
2014 | o | Environmental | Degradation |  | 1.4 | 1.8 | United Kingdom | Staffell and Green
(2014)
2016 | o | Environmental | Degradation |  | 1.5 | 2 | Before blade repair | Murphy (2016)
2017 | o | Environmental | Degradation | 0.3 |  |  | Sweden | Olauson et al.
(2017)
2018 | o | Environmental | Degradation | 0.44 |  |  |  | Wiser et al. (2019)
2019 | o | Environmental | Degradation | 0.6 |  |  | Germany | Germer and
Kleidon (2019)
2019 | o | Environmental | Degradation |  |  | 9.5 | Lead edge erosion | Latoufis et al.
(2019)
2020 | o | Environmental | Degradation |  | 0.17 | 1.23 | United States | Hamilton et al.
(2020)
2014 | e | Environmental | Environmental | 0.6 | 0 | 3.9 | Typical North | AWS Truepower
[7 empty] | American onshore, | (2014)
combining
temperature
shutdown and
lightning
2016 | e | Environmental | Environmental |  |  | 1 | Temperature | Clifton et al. (2016)
shutdown
2019 | o | Environmental | Environmental | 0.35 |  |  | Temperature | Pedersen and
[7 empty] | shutdown | Langreder (2019)
2016 | e | Environmental | Exposure |  | 0 | 3 | Exposure over time | Clifton et al. (2016)
2014 | e | Environmental | Icing | 1 | 0 | 4.5 | Typical North | AWS Truepower
[7 empty] | American onshore | (2014)
2016 | e | Environmental | Icing |  | 1 | 5 |  | Clifton et al. (2016)
2016 | e | Environmental | Icing | 5.6 |  |  |  | Beaucage et al.
(2016)
2019 | e | Environmental | Icing | 30 |  |  |  | Abascal et al. (2019)
2008 | o | Environmental | Icing | 26 |  |  | Average of two | Gillenwater et al.
[7 empty] | wind farms for | (2008)
4 years
2010 | o | Environmental | Icing | 24 |  |  | Four winters, 10 % | Rindeskär (2010)
of the year
2015 | o | Environmental | Icing | 10 |  |  | Seven wind farms, | Byrkjedal et al.
[7 empty] | 111 turbines, | (2015)
272 MW in Sweden
2016 | o | Environmental | Icing |  | 5 | 15 | Three consultants | Trudel (2016)
underestimate 1.5
to 4 times lower
than this
2016 | o | Environmental | Icing | 4.9 |  |  |  | Beaucage et al.
(2016)
2019 | o | Environmental | Icing | 0.87 |  |  |  | Pedersen and
Langreder (2019)
2019 | o | Environmental | Icing |  | 33 | 35 |  | Abascal et al. (2019)
2011 | e | Environmental | Total | 2 |  |  | Analyst | Hendrickson (2011)
|  |  | environmental |  |  |  | comparison
2012 | e | Environmental | Total | 2.6 | 1 | 6 |  | Brower (2012)
environmental
2013 | e | Environmental | Total |  | 1 | 2 | Typical, used in | Mortensen (2013)
|  |  | environmental |  |  |  | Wind Atlas
Analysis and
Application
Program (WAsP),
include blade
degradation, icing,
temp shutdown
2013 | e | Environmental | Total |  | 1 | 2 | Typical northwest | Mortensen (2013)
|  |  | environmental |  |  |  | European onshore,
include blade
degradation and
icing
2014 | e | Environmental | Total | 2.7 |  |  | Typical North | AWS Truepower
|  |  | environmental |  |  |  | American onshore | (2014)
2016 | e | Environmental | Total |  | 1 | 7 |  | Clifton et al. (2016)
environmental
2011 | o | Environmental | Total | 0.4 |  |  |  | Johnson (2011)
environmental
2010 | e | Total | Total |  | 6 | 13 |  | Clive (2010)
2011 | e | Total | Total | 18 |  |  | Analyst | Hendrickson (2011)
comparison
2012 | e | Total | Total | 18.5 | 7.8 | 37 |  | Brower (2012)
2012 | e | Total | Total | 14.8 |  |  | Analyst | Mortensen et al.
[7 empty] | comparison | (2012)
2013 | e | Total | Total | 22.5 |  |  | Offshore, analyst | Mortensen and
[7 empty] | comparison | Ejsing Jørgensen
(2013)
2013 | e | Total | Total | 17.4 |  |  | Onshore, analyst | Mortensen and
[7 empty] | comparison | Ejsing Jørgensen
(2013)
2014 | e | Total | Total | 19.7 | 8.5 | 32.2 | Typical North | AWS Truepower
[7 empty] | American onshore | (2014)
2018 | e | Total | Total | 15 |  |  | Onshore | Stehly et al. (2018)
2008 | o | Total | Total |  | 2 | 5 |  | Johnson et al.
(2008)
2008 | e | Turbine | Generic | 1 |  |  |  | Johnson et al.
|  | performance | power curve |  |  |  |  | (2008)
adjustment
2009 | e | Turbine | Generic | 0.3 |  |  | Turbulence- | AWS Truepower
|  | performance | power curve |  |  |  | intensity-dependent | (2009)
|  |  | adjustment |  |  |  | power curves
2012 | e | Turbine | Generic | 2.4 | 1 | 4 |  | Brower et al. (2012)
|  | performance | power curve
adjustment
2014 | e | Turbine | Generic | 2.4 | 0 | 2.4 | Typical North | AWS Truepower
|  | performance | power curve |  |  |  | American onshore | (2014)
adjustment
2016 | e | Turbine | Generic | 2.4 |  |  |  | Bernadett et al.
|  | performance | power curve |  |  |  |  | (2016)
adjustment
2019 | e | Turbine | Generic | 1 |  |  |  | Lee (2019)
|  | performance | power curve
adjustment
2008 | o | Turbine | Generic | 2 | 4 |  |  | Johnson et al.
|  | performance | power curve |  |  |  |  | (2008), Jones (2008)
adjustment
2012 | o | Turbine | Generic | 2.2 |  | 3.2 |  | Drees and Weiss
|  | performance | power curve |  |  |  |  | (2012)
adjustment
2012 | o | Turbine | Generic | 2.5 |  |  |  | Johnson (2012)
|  | performance | power curve
adjustment
2013 | o | Turbine | Generic | 1.8 |  |  | Without yaw error | Osler (2013)
|  | performance | power curve |  |  |  | correction
adjustment
2014 | o | Turbine | Generic | 2 |  |  |  | Staffell and Green
|  | performance | power curve |  |  |  |  | (2014)
adjustment
2014 | o | Turbine | Generic | 1.6 | 1 | 3 |  | Ostridge (2014)
|  | performance | power curve
adjustment
2015 | o | Turbine | Generic | 2 | 0 | 4 |  | Geer (2015)
|  | performance | power curve
adjustment
2015 | o | Turbine | Generic | 1.5 |  |  |  | Ostridge (2015)
|  | performance | power curve
adjustment
2015 | o | Turbine | Generic | 1.1 |  |  |  | Kassebaum (2015)
|  | performance | power curve
adjustment
2018 | o | Turbine | Generic | 0.2 |  |  |  | Pram (2018)
|  | performance | power curve
adjustment
2010 | e | Turbine | High wind | 0.3 |  |  | WindPro 2.7 | Nielsen et al. (2010)
|  | performance | hysteresis
2014 | e | Turbine | High wind | 0.6 | 0 | 3 | Typical North | AWS Truepower
|  | performance | hysteresis |  |  |  | American onshore | (2014)
2009 | e | Turbine | Site-specific | 0.6 |  |  | Adjust for tower | AWS Truepower
|  | performance | power curve |  |  |  | turbulence intensity | (2009)
|  |  | adjustment |  |  |  | to correct NRG
Systems Max 40
anemometer
overspeeding
2014 | e | Turbine | Site-specific | 0 | 0 | 1 | Typical North | AWS Truepower
|  | performance | power curve |  |  |  | American onshore, | (2014)
|  |  | adjustment |  |  |  | including inclined
flow
2016 | e | Turbine | Site-specific | 0.5 |  |  |  | Papadopoulos
|  | performance | power curve |  |  |  |  | (2019)
adjustment
2014 | o | Turbine | Site-specific | 2 | 5 |  |  | Staffell and Green
|  | performance | power curve |  |  |  |  | (2014)
adjustment
2008 | e | Turbine | Suboptimal | 1 |  |  |  | Johnson et al.
|  | performance | performance |  |  |  |  | (2008), White (2008a)
2009 | e | Turbine | Suboptimal |  | 1 | 2 |  | White (2009)
|  | performance | performance
2009 | e | Turbine | Suboptimal | 1 |  |  |  | AWS Truepower
|  | performance | performance |  |  |  |  | (2009)
2013 | e | Turbine | Suboptimal | 0.5 |  |  |  | Papadopoulos
|  | performance | performance |  |  |  |  | (2019)
2014 | e | Turbine | Suboptimal | 1 | 0 | 1 | Typical North | AWS Truepower
|  | performance | performance |  |  |  | American onshore | (2014)
2019 | e | Turbine | Suboptimal |  | 1.1 | 2.2 | 10∘ of yaw error | Liew et al. (2019)
|  | performance | performance
2019 | e | Turbine | Suboptimal | 3 |  |  | Yaw misalignment | Slinger et al.
|  | performance | performance |  |  |  |  | (2019b)
2012 | o | Turbine | Suboptimal |  | 0 | 3.6 |  | Johnson (2012)
|  | performance | performance
2019 | o | Turbine | Suboptimal | 0.41 |  |  |  | Pedersen and
|  | performance | performance |  |  |  |  | Langreder (2019)
2019 | o | Turbine | Suboptimal | 0.21 |  |  | Yaw | Pedersen and
|  | performance | performance |  |  |  |  | Langreder (2019)
2010 | e | Turbine | Total turbine |  | 1 | 3 |  | Clive (2010)
|  | performance | performance
2010 | e | Turbine | Total turbine | 10 |  | 19 |  | Clive (2010)
|  | performance | performance
2011 | e | Turbine | Total turbine | 2 |  |  | Analyst | Hendrickson (2011)
|  | performance | performance |  |  |  | comparison
2012 | e | Turbine | Total turbine | 2.5 | 0 | 5 |  | Brower (2012)
|  | performance | performance
2013 | e | Turbine | Total turbine |  | 1 | 2 | Typical northwest | Mortensen (2013)
|  | performance | performance |  |  |  | European onshore
2014 | e | Turbine | Total turbine | 4 |  |  | Typical North | AWS Truepower
|  | performance | performance |  |  |  | American onshore | (2014)
2016 | e | Turbine | Total turbine |  | 1 | 3 |  | Clifton et al. (2016)
|  | performance | performance
2019 | o | Turbine | Total turbine |  | 2 | 6.5 | Rotor aerodynamic | Rezzoug (2019)
|  | performance | performance |  |  |  | imbalance, yaw
static misalignment
2013 | e | Wake effect | External wake | 2.3 |  |  | Offshore, analyst | Mortensen and
|  |  | effects |  |  |  | comparison, | Ejsing Jørgensen
[7 empty] | including | (2013)
neighboring wind
farm wake
2014 | e | Wake effect | External wake | 0 |  |  | Typical North | AWS Truepower
|  |  | effects |  |  |  | American onshore | (2014)
2014 | e | Wake effect | Internal wake | 6.4 | 0 | 2 | Typical North | AWS Truepower
|  |  | effects |  |  |  | American onshore | (2014)
2018 | e | Wake effect | Internal wake | 2 | 0 | 4 | Turbine interaction | Bleeg (2018)
effects
2011 | e | Wake effect | Nonwake |  | 3 | 4 |  | Comstock (2011)
2011 | e | Wake effect | Nonwake | 11 | 6 | 15 | Analyst | Hendrickson (2011)
comparison
2012 | e | Wake effect | Nonwake | 9.2 | 5 | 20 | Analyst | Mortensen et al.
[7 empty] | comparison | (2012)
2013 | e | Wake effect | Nonwake | 9.6 | 7.5 | 13 | Offshore, analyst | Mortensen and
[7 empty] | comparison | Ejsing Jørgensen
(2013)
2013 | e | Wake effect | Nonwake | 8 | 4.4 | 20 | Onshore, analyst | Mortensen and
[7 empty] | comparison | Ejsing Jørgensen
(2013)
2013 | e | Wake effect | Nonwake |  | 5 | 10 | Typical northwest | Mortensen (2013)
European onshore
2015 | e | Wake effect | Nonwake |  | 8 | 9.6 |  | Mortensen et al.
(2015a)
2008 | e | Wake effect | Total wake |  | 10 | 20 |  | Barthelmie et al.
|  |  | effect |  |  |  |  | (2008)
2009 | e | Wake effect | Total wake | 20 |  |  | After 20 rows of | White (2009)
|  |  | effect |  |  |  | turbines
2009 | e | Wake effect | Total wake | 40 |  |  | After 70 rows of | Tindal (2009)
|  |  | effect |  |  |  | offshore turbines
2009 | e | Wake effect | Total wake |  | 15 | 20 | After 15 rows of | Tindal (2009)
|  |  | effect |  |  |  | offshore turbines
2009 | e | Wake effect | Total wake | 10 |  |  |  | Nielsen et al. (2010)
effect
2010 | e | Wake effect | Total wake | 18 |  |  |  | Wolfe (2010)
effect
2010 | e | Wake effect | Total wake |  | 5 | 15 | WindPro 2.7 | Nielsen et al. (2010)
effect
2010 | e | Wake effect | Total wake | 11.5 |  |  | Account for deep- | Nielsen et al. (2010)
|  |  | effect |  |  |  | array loss and
turbulence intensity
2011 | e | Wake effect | Total wake |  | 1 | 3 |  | Comstock (2011)
effect
2011 | e | Wake effect | Total wake | 8 | 6 | 10 | Analyst | Hendrickson (2011)
|  |  | effect |  |  |  | comparison
2012 | e | Wake effect | Total wake | 6.7 | 3 | 15 |  | Brower (2012)
effect
2012 | e | Wake effect | Total wake | 6.1 | 4.5 | 8.1 | Analyst | Mortensen et al.
|  |  | effect |  |  |  | comparison | (2012)
2013 | e | Wake effect | Total wake | 14 | 6.9 | 37 | Offshore, analyst | Mortensen and
|  |  | effect |  |  |  | comparison | Ejsing Jørgensen
(2013)
2013 | e | Wake effect | Total wake | 10 | 3.9 | 17 | Onshore, analyst | Mortensen and
|  |  | effect |  |  |  | comparison | Ejsing Jørgensen
(2013)
2014 | e | Wake effect | Total wake | 6.4 | 1.1 | 18.1 | Typical North | AWS Truepower
|  |  | effect |  |  |  | American onshore | (2014)
2015 | e | Wake effect | Total wake |  | 6.1 | 14.3 | Onshore analyst | Mortensen et al.
|  |  | effect |  |  |  | comparison | (2015b)
2016 | e | Wake effect | Total wake |  | 0 | 10 | Onshore analyst | Clifton et al. (2016)
|  |  | effect |  |  |  | comparison
2018 | e | Wake effect | Total wake |  | 4.5 | 7.7 |  | Walls (2018)
effect
2019 | e | Wake effect | Total wake |  |  | 15 |  | Slinger et al.
|  |  | effect |  |  |  |  | (2019a)
2019 | e | Wake effect | Total wake |  | 3 | 14 |  | Stoelinga (2019)
effect
2010 | o | Wake effect | Total wake | 13 |  |  | By the fifth row | Wolfe (2010)
effect
2014 | o | Wake effect | Total wake |  | 5 | 15 | Onshore, small | Staffell and Green
|  |  | effect |  |  |  | (20-turbine) wind | (2014)
farms
2016 | o | Wake effect | Total wake |  | 8.4 | 15.3 | Up to fourth row | Kline (2016)
|  |  | effect |  |  |  | downwind
2019 | o | Wake effect | Total wake |  | 4 | 16 |  | Stoelinga (2019)
effect