## Worksheet 1
Site | Site 1 | Site 2 | Site 3 | Site 4 | Site 5
Location | Germany | Norway | Spain | Switzerland | –
Main wind direction | W | SE and NW | SW and SWW | SW | –
Calibration location | (4309721.715, | (4086674.443, | (442929.200, | (574452.000, | –
| 2838928.447) | 3958009.528) | 4741536.600) | 239147.000)
Coordinate system | EPSG3035 | EPSG3035 | EPSG3035 | EPSG21781 | –
Calibration | Met mast | STIG2 met mast | Met mast west | Wind turbine | Unnamed met
| (93 m) | (83 m) | (50 m) | WEA1 | mast at site
Validation | Fast pulsed | STIG1 met mast | Met mast east | Wind turbine | Unnamed met
| lidar wind scanner | (83 m) | (50 m) | WEA2 | mast at site
(100 m)
Measurement time | Mar 2015 to | Dec 2013 to | Sep 2009 to | Jan 2010 to | 6 months
| Feb 2016 | Jan 2016 | Sep 2010 | Dec 2020
Wind turbine type | S & G Engineering | Siemens | Enercon E-40 | Enercon E-82 | –
| SG750.54 | SWT-DD-130
Wind turbine hub height | 100 m | 115 m | 50 m | 78 m | –