## Worksheet 1
Scenario | Description | Purpose
1 | Grid-connected: wind turbine experiences high generator temperature at night. | Demonstrate power reduction mitigating error and preventing shutdown.
2 | Microgrid: wind turbine experiences high accelerometer reading resulting in fault. | Demonstrate stop warning softening turbine shutdown: preventing diesel emergency start, reducing maximum power draw from storage, and decreasing risk of transient grid instability.
3 | Microgrid: wind turbine experiences high accelerometer reading not resulting in fault. | Demonstrate case where diesel generator is brought online and not needed, but sensor drift is revealed.