## Worksheet 1
Category | SCADA parameter
Environmental | Wind speed, wind direction, ambient temperature, nacelle temperature
Electrical | Active power output, power factor, reactive power, generator voltages, generator phase current, voltage frequency
Control variables | Pitch angle, yaw angle, rotor shaft speed, fan speed and status, generator speed, cooling pump status, number of yaw movements, set pitch angle and deviation, number of starts and stops, operational status code
Temperatures | Gearbox bearing, gearbox lubricant oil, generator winding, generator bearing, main bearing, rotor shaft, generator shaft, generator slip ring, inverter phase, converter cooling water, transformer phase, hub controller, top controller, converter, controller, grid busbar