## Worksheet 1
Channel | Number of | Sensor type | Sampling | Notes
| sensors |  | frequency*
Wind speed calibration | 3 | Direction ultrasonic anemometer | 32 Hz | Removed after calibration
Wind speed reference | 1 | Magnitude hot-wire anemometer | 50 Hz | Available in calibration and testing
Wave elevation calibration | 3 | Wave probe | 50 Hz | Removed after calibration
Wave elevation reference | 6 | Wave probe | 50 Hz | Available in calibration and testing
Hull and keel positions | 8 | Optical tracking camera | 50 Hz | Markers in hull and keel
Fairlead tensions | 3 | Load cell | 50 Hz
Keel line tensions | 6 | Load cell | 50 Hz
Tower base bending moment | 1 | Strain gauge array | 50 Hz | Signal DC component not reliable